Conditioned Residential Building Plan Submission Requirements

(effective July 1st, 2020)

- Fully dimensioned with ceiling heights

- Doors and windows with sizes

- Roof plan & type including

  - Truss layout

  - Truss reactions

- Foundation plan

- Floor framing plan

- Energy code credits selected indicated ON plans or Target UA Analysis & Details provided. R406

  - Any change in energy code credit selections once permitted will require resubmission.  A revised set of plans with change in energy code selection ON revised set of plans will be reviewed and fee required.

- Plans shall be Min. 11” x 17” to 24” x 36” Max.

- Plans shall be clearly legible

- Plans requiring design shall be originals and stamped by a Washington State registered Architect or Engineer

- Buildings in Floodplains shall indicate on the plan the method to be used to comply with FEMA requirements