Darlington County Codes Enforcement

2009 International Energy Conservation Code

Statement of Compliance

I ____________________________ ________ (Contractor / Owner) hereby certify that the structure at

__________________________________________ has been constructed to meet the 2009 International

Energy Conservation Code in accordance with the South Carolina Energy Standard Act Title 6, Chapter 10 of

South Carolina Code of Laws as indicated in the check listed items herein.

Method of Air Barrier Thermal Barrier Compliance

Visual Inspection:  Requires completion of the attached air barrier/thermal envelope inspection checklist.  Certifying party of the air barrier/thermal envelope shall be independent of the insulation installer.

Blower Door Test:  Less than 7 air changes per hour (ACH) required with blower door pressure of 50 Pascal’s (1 psf).   Provider of blower door test shall be certified to perform such testing.

Blower Door test provided by: ________________________   Insulation Installer: ________________License #________

Date of blower door test: ____________________________   Results of blower door test: _________________________

Duct Sealing Test

Rough-in Test:  Total leakage shall be less than or equal to 6 cfm per 100ft2 of conditioned floor area when tested at a pressure differential of 0.1 inches w.g. (25 Pascals) across the roughed-in system, including the manufacturer’s air handler enclosure.  All register boots shall be taped or otherwise sealed during the test.  If the air handler is not installed at the time of test, total leakage shall be less than or equal to 4 cfm per 100ft2 of conditioned floor area.

Postconstruction Test:  Leakage to outdoors shall be less than or equal to 8 cfm per 100ft2 of conditioned floor area  or a total leakage less than or equal to 12 cfm per 100ft2 of conditioned floor area when tested at a pressure differential of 0.1 inches w.g. (25 Pascals) across the entire system, including the manufacturer’s air handler enclosure.  All register boots shall be taped or otherwise sealed during the test.

Test provided by: ______________________________   Date:  _________________________________

Results of test: _________________________________________________________________

Manuals D, J, and S

Calculated by: __________________________   Retained by: ____________________________

Cooling System SEER: _______   Heating System HSPF/AFUE:___________ System Size:___________________

Permanent Energy Certificate

A permanent energy certificate shall be placed in the electrical panel. The certificate shall list predominate R-values of installed insulation in required areas and U-factors and SHGC (Solar Heat Gain Coefficient) values for all installed fenestration. If multiple values are installed the permanent certificate shall list those values.   The certificate shall list the types and efficiency of heating, cooling and service water heating equipment.

Signature of certifying party: ___________________________                     Date:_________________________