Department of Building Safety

Checklist for Close-Out of Construction Projects

Commercial

• Duct leakage Test Results, Compliant with latest adopted IECC by SC

• Testing and Balancing reports

• Elevator Inspection sign off from SCLLR

• Proper address identification per adopted building code (field verified)

• Treated wood compliance letter i.a.w. latest adopted edition of SCBC

• Energy Compliance Label (attached to electrical panel) per latest adopted edition of IECC (field verified)

• Non-Conversion Agreement--below flood space (recorded at RMC Office) or Flood   proofing certification from SC registered structural engineer

• Final Sign off from SCDHEC from Utilities Department if on city sewer

• Final Inspection/Sign off from Charleston County Storm Water Department

• As-built, site fill, post construction, no adverse impact letter from SC registered design       professional

• Final Documents needed from SC registered Land Surveyor:

- As-built Elevation Certificate (sealed)

- As-built V-Zone Design Certificate (sealed)

- As-built Breakaway Wall Certificate (sealed)

- As-built survey showing all site improvements including

--septic system and drain-field protection if applicable

--total conditioned square footage

--total impervious lot coverage

--all compliant parking spaces as required by ordinance

--ridge height from Center line of nearest street

--OCRM baseline and 40' dune management area for beach front properties

--critical line for marsh adjacent properties

--tree mitigation shown on site plan if required during permits

•Final Inspection signed off by Building Official or designee. This list must be completed in entirety before a Certificate of Occupancy will be issued.