Department of Building Safety

Checklist for Close-Out of Construction Projects

New Single Family Residential

- Duct leakage test results, compliant with latest adopted IECC by SC

- Elevator Installation Letter of Compliance with R321, SCRC latest adopted edition (if applicable)

- Proper address identification per adopted building code (field verified)

- Treated wood compliance letter i.a.w. latest adopted edition of SCRC

- Energy Compliance Label (attached to electrical panel) per latest adopted edition of IECC (field verified)

- Non-Conversion Agreement for Elevated Structures in the Floodplain (recorded at RMC Office)

- Final sign off from SCDHEC for septic system or sign off from Utilities Department if on city sewer

- Final inspection/sign off from Charleston County Storm Water Department

- As-built, site fill, post construction, no adverse impact letter from SC registered design professional

- Final Documents needed from SC registered Land Surveyor:

- As-built Elevation Certificate (sealed)

- As-built V-Zone Design Certificate (sealed)

- As-built Breakaway Wall Certificate (sealed)

- As-built survey showing all site improvements including

- septic system and drain-field protection

- total conditioned square footage

- total impervious lot coverage as a percentage of the total lot square footage

- all compliant parking spaces

- height from first finished floor elevation

- OCRM baseline and 40' dune management area for beach front properties

- critical line and 15’ buffer for marsh adjacent properties

- tree mitigation if required during permits

- Final Inspection signed off by Building Official or designee. This list must be completed in entirety before a Certificate of Occupancy will be issued.