CHECKLIST FOR POOLS

The following submittals are required to be submitted as a complete package.

- 2 site specific sets of plans.

- Site plans must show flood zone/FIRM (Flood Ins. Rate Map) lines.

- Site plan must show existing and proposed total square footage of the building, covered porches, pools, and the square footage of all other impervious surfaces (lot coverage) as a percentage of the buildable area. Site plans must also show setbacks, baseline, all easements (utility, access, etc.) and critical line/s (if applicable).

  - A pre-construction elevation certificate that is based on construction     drawings (for elevated pools within the structure). Elevation of the lowest horizontal structural member (LHSM) on Folly Beach must be at BFE + 4’ (freeboard).

  - V- Zone Design certificate signed and sealed by licensed SC engineer or architect, required both pre and post construction. Required regardless of flood zone for insurance purposes.

  - A pre-construction, no-adverse impact letter, completed by a SC registered design professional.

  - 2 sets of 1/4” scale plans. All plans must be sealed by a registered SC Architect or Engineer. Design basis and parameters must be listed on the plans.

  - Plans must include the following:

- Cover sheet for plans must indicate what codes were used in the design.

- Plans must indicate the amount and type of exterior lighting. Beach front lighting must comply with COFB Sea Turtle Protection Ordinance.

  - Swimming pools or spas are considered accessory structures and must not be attached to the primary structure. Pools must be at grade or if elevated a certification letter from a structural engineer must be provided to ensure the pool will not increase erosion or the effects of wave run up and ramping on neighboring properties.

  - Pool heaters must be elevated above BFE + 4 feet on platforms with certified V-zone design.

  - All excavated material must be removed from the site.

  - A signed contract/scope of work between property Owner/or prime contractor and pool contractor shall be provided with the permit application.

  - Permit applications must be signed off by the Building Code Official and Zoning Administrator.

____________________________________________________________________________________ For more information contact permits@follybeach.gov.

Updated August 2022