Development Services – Engineering Land Development

311 Vernon Street

Roseville, CA  95678 (916) 774-5339

# PUBLIC IMPROVEMENTS REQUIREMENTS

EROSION / SEDIMENT CONTROL:

- The State's General Permit for Stormwater Discharges Associated with Construction Activity (WQD 99-080-DWQ) requires the preparation of a Stormwater Pollution Prevention Plan (SWPPP) for sites with soil disturbances greater than or equal to one acre, or from sites smaller than one acre if the construction activity is part of a larger plan of development or sale that disturbs one acre or more. Construction activity shall not commence, nor a pre-construction meeting permitted to be scheduled, prior to the SWPPP being accepted by the city. for more information see; http://www.roseville.ca.us/eu/stormwater_management

- THE PROJECT STORMWATER POLLUTION PREVENTION PLAN (SWPPP) IS INCORPORATED BY REFERENCE INTO THIS SET OF PLANS.  THE SWPPP IS CONSIDERED A DYNAMIC DOCUMENT AND WILL CHANGE AS CONDITIONS WARRANT.  PERMANENT EROSION AND SEDIMENT CONTROL MEASURES WILL BE CONSTRUCTED AS SHOWN ON THESE PLANS.

- A COPY OF THE SWPPP SHALL BE KEPT AT THE PROJECT SITE AT ALL TIMES.

- ALL EROSION AND SEDIMENT CONTROL MEASURES SHALL BE IMPLEMENTED AS SPECIFIED IN THE SWPPP AND/OR AS DIRECTED BY CITY INSPECTOR.

- NO GRADING OR TRENCHING, EXCEPT AS REQUIRED FOR EROSION OR SEDIMENT CONTROL, SHALL OCCUR WITHIN 35 FEET FROM THE CENTERLINE OF PERENNIAL AND INTERMITTENT DRAINAGE SWALES BETWEEN OCTOBER 15 AND APRIL 15 EXCEPT AS APPROVED BY THE DEPARTMENT OF FISH AND GAME.

- ALL EROSION AND SEDIMENT CONTROL MEASURES SHALL BE MAINTAINED IN ACCORDANCE WITH THE SWPPP.

- THE CONTRACTOR SHALL ESTABLISH A SPECIFIC SITE WITHIN THE DEVELOPMENT FOR MAINTENANCE AND STORAGE OF EQUIPMENT OR ANY OTHER ACTIVITY THAT MAY ADVERSELY CONTRIBUTE TO THE WATER QUALITY OF THE RUNOFF IN ACCORDANCE WITH THE SWPPP.

E:\Develop\Standard Notes\Erosion-Sediment Control	REV. 6-16-05